## Contact Information
The Integrated Mass Spectrometry-Shared Resource (IMS-SR), under the direction of Dr. Patrick Pirrotte, offers high quality services in proteomics including the Illumina Protein Prep Assay. Projects should be discussed with Dr. Pirrotte prior to sample submission and coordinated with the laboratory manager.
A sample submission form, including the data analysis comparisons, must be completed for each project or sample shipment. Please use the tabs below to navigate to these sections. Form instructions, sample input recommendations, shipping information and an example form are also provided in tabs below.
Contact Information
Patrick Pirrotte, Ph.D.
Associate Professor, Cancer & Cell Biology Division, TGen
Director, Integrated Mass Spectrometry, City of Hope Comprehensive Cancer Center
ppirrotte@tgen.org
Melissa Martinez
Laboratory Manager
mmartinez@tgen.org
602-343-8794
Form Revision Number | Date Issued | Author (Initials) | Reviewer (Initials) | Summary of Revisions
v001

## User Sample Submission Form
Instructions:
1) All Fields in green are required and must be completed before study can begin
2) A minimum of three replicates for groups are required for statistical analysis
3) For clinical samples, Sample ID and Notes must not contain any PHI (for eg. patient name, date of birth..etc.)
4) Physical labels on each sample should be clearly legible and match sample submission IDs
5) If you have requested group-to-group comparisons, you must fill in the Data Analysis Comparisons sheet
6) See sample input recommendations tab for minimum requirements for sample submissions
7) One full plate is 85 samples. A sequencing run on the Novaseq can have up to 2 plates (170 samples)
8) Each Run can only have one sample type (Serum or Plasma). There can be no mixing of serum and plasma samples within a plate. If you are providing both Serum and Plasma samples, ensure there are enough of each for their own runs and they are labeled clearly.
9) Cryovials or 0.5 mL matrix tubes are the preferred sample container types
10) Minimum Sample Volume is 150 uL
To be filled by user | [5 empty] | To be completed by IMS
Sample ID | Sample type | Sample Group Condition #1 (e.g. tumor vs healthy; control vs drug-treated) | Sample Group Condition #2 (e.g. benign vs metastatic; timepoint 2 hr. vs 24 hr.) | Quantity (volume in uL) | Container Type | Date Received | IMS ID | Sample Location | Sample Box Position ID | Sample Preanalytical QC Pass/FAIL (eg. appearance, presence of any off-normal condition, broken tubes, missing identifiers/lables.etc.)
|  |  |  | 150 | Cryovial
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150
150

## User Data Analysis Comparisons
Data Analysis: To be completed by user
Bioinformatics Package Level:
Comparisons to be completed:
| Sample Group | Compare to: | If multigroup comparison, add additional group here:
1
2
3
4
Do you plan to compare this with a previous study?
If so, what study and how?
REPORTING Levels:
Our assay comes with three tiered options for data reporting, each available for purchase. Each reporting tier offers varying degrees of detail and analysis to suit different customer needs.
Level 1: Basic Analysis
QC Analysis report
Primary data report providing base output from the Illumina BaseSpace Sequence Hub for you to further analyze.
Level 2: Intermediate Analysis
All of the above plus
Illumina’s Secondary Analysis and Analyte Information
Standard pipeline analysis for protein Identification that includes data normalization, differential abundance analysis and basic data visualization.
Level 3: Custom Analysis
Following consultation with our staff, a fully customized data analysis product will be agreed upon to best meet your project goals.
Possible features include publication-ready figures and data reports, targeted protein analysis, and more.

## Sample Input Requirements
General sample processing requirements
Proper processing of the collected samples is critical. Many tubes have a minimum and maximum fill line, and these requirements should be followed, and no additional additives should be added to the samples. It is particularly important that time constraints are observed and that samples are not left at room temperature longer than necessary. Samples should be fully processed and frozen at ‐80 °C within 2 hours of collection. Final sample containers can be cryovials or 0.5mL matrix tubes. Please reach out to us if neither sample container is viable.
Note: Hemolyzed samples (pink to red in color) can confound true biomarker discovery. If available, send non‐hemolyzed samples for your Protein Prep study. If only hemolyzed samples are available, please contact us.
Recommended general sample collection protocol
• Check the expiration date on all the tubes. If expired, replace with new ones.
• Perform venipuncture per institutional guidelines.
• If more than one sample type is collected, follow the collection order according to tube manufacturer's guidelines.
Plasma Processing
Whole blood specimens for plasma samples must be collected in EDTA blood collection tubes. Do not freeze.
  We cannot guarantee the performance of the Illumina Protein Prep protocol for samples collected using other blood collection tubes (for example, citrate plasma or heparin plasma).
Begin processing whole blood specimens for plasma samples within 30 minutes of collection
Plasma samples do not need to clot before placing on the centrifuge.
Centrifuge collection tubes at room temperature. Centrifuge at 2200 × g (RCF) for 15 minutes.
  This speed optimizes removal of all cellular contents and platelets from samples.
  Observe separation of blood cells and plasma, with plasma layer on top.
Aliquot plasma samples immediately into labeled appropriate tube
  Sample containers can be cryovials or 0.5mL matrix tubes. Please reach out to us if neither sample container is viable
Aliquot only the plasma layer. To avoid disturbing the buffy coat, leave a residual of plasma and avoid the cell layer.
Store aliquoted samples in a -80°C freezer. Storage effects at -20°C have not been evaluated for the Illumina Protein Prep assay.
  Note: Plasma Samples do not need to clot, and should be centrifuged immediately after collection
Avoid multiple freeze-thaw cycles of plasma samples.
Serum Processing
Avoid adding anticoagulant to serum samples.
Allow serum to clot for 60–90 min at room temperature before placing on the centrifuge.
Centrifuge collection tubes at room temperature. Centrifuge at 2,200 × g (RCF) for 15 minutes.
  This speed optimizes removal of all cellular contents and platelets from samples.
  Observe separation of blood cells and serum, with serum layer on top.
Aliquot serum samples within 30 min of centrifugation into labeled appropriate tube
  Sample containers can be cryovials or 0.5mL matrix tubes. Please reach out to us if neither sample container is viable
Aliquot only the serum layer.
Store aliquoted samples in a -80°C freezer. Storage effects at -20°C have not been evaluated for the Illumina Protein Prep assay.
Avoid multiple freeze-thaw cycles of serum samples.

## Shipping Instructions
I. PURPOSE
Follow procedures outlined in this guide when your shipment includes dry ice and non-infectious biological samples. Please contact the biosafety compliance specialist for an assessment of your shipment if you plan on shipping additional hazards.
II. APPLICABILITY
Please contact your Office of Research Compliance - Biosafety for assistance. Federal rules require that anyone who wishes to ship dry ice must first receive shipping training. If you are going to package dry ice for shipment or sign any type of shipping documentation (such as a Fed Ex Airbill) for a dry ice shipment, you must read this guide which will explain the general provisions relating to the regulations and training requirements applicable to dry ice.
III. SAFETY PRECAUTIONS
1. Explosion hazard: Dry ice releases a large volume of carbon dioxide gas as it sublimates. If packaged in a container that does not allow for release of the gas, it may explode, causing person injury or property damage
2. Suffocation hazard: A large volume of carbon dioxide gas emitted in a confined space may create an oxygen deficient atmosphere;
3. Contact hazard: Dry ice is a cryogenic material that causes severe frostbite upon contact with skin.
IV. Material and Equipment
Consumables
Packaging materials
1. Sturdy box – Available from facilities or other labs
2. Styrofoam cooler – Available from facilities or other labs
3. Packaging tape
4. Airbill
5. Dry Ice Label - UN1845
6. Box for sample containment
V. QUALITY CONTROL
1. Labels: The outermost container must be labeled with a hazard class 9 label (UN1845) and the net weight of dry ice in kilograms. The outermost container must also have the appropriate hazard label per biological sample (ie. If shipping non-infectious human samples, then use a “Exempt Human Specimen” label on the outermost container). These labels should be affixed to a vertical side of the box (not the top or bottom). The maximum allowable net quantity of dry ice allowed per package is 200kg.
2. Shipping: Shipping is best done on a Monday or Tuesday to anticipate any delays. Please provide the tracking number when it is immediately available. The tracking number can be sent to this email: mmartinez@tgen.org or kdabrowska@coh.org.
3. Sample Manifest: Please provide a sample manifest with photos of the samples prior to shipping. The manifest can be sent to this email: mmartinez@tgen.org
4. Primary Contact: If there are any questions or concerns please contact our core and lab manager:
Phoenix:
Melissa Martinez
Office Phone #: 602-343-8794
Email: mmartinez@tgen.org
5. Shipping Address:
Translational Genomics Research Institute
Collaborative Center for Translational Mass Spectrometry (Suite 400)
C/O Melissa Martinez
445 N. 5th Street
Phoenix, AZ 85004

## Example Sample Submission Form
Instructions:
1) All Fields in green are required and must be completed before study can begin
2) A minimum of three replicates for groups are required for statistical analysis
3) For clinical samples, Sample ID and Notes must not contain any PHI (for eg. patient name, date of birth..etc.)
4) Physical labels on each sample should be clearly legible and match sample submission IDs
5) If you have requested group-to-group comparisons, you must fill in the Data Analysis Comparisons sheet
6) See sample input recommendations tab for minimum requirements for sample submissions
7) One full plate is 85 samples. A sequencing run on the Novaseq can have up to 2 plates (170 samples)
8) Each Run can only have one sample type (Serum or Plasma). There can be no mixing of serum and plasma samples within a plate. If you are providing both Serum and Plasma samples, ensure there are enough of each for their own runs and they are labeled clearly.
To be filled by user | [6 empty] | To be completed by IMS
Sample ID | Sample type | Sample Group Condition #1 (e.g. tumor vs healthy; control vs drug-treated) | Sample Group Condition #2 (e.g. benign vs metastatic; timepoint 2 hr. vs 24 hr.) | Quantity (volume in uL) | Container Type | Date Received | IMS ID | Sample Location | Sample Box Location ID | Sample Preanalytical QC Pass/FAIL (eg. appearance, presence of any off-normal condition, broken tubes, missing identifiers/lables.etc.)
1 | Plasma | Control | N/A | 150 | cryovial
2 | Plasma | Control | N/A | 150 | cryovial
3 | Plasma | Control | N/A | 150 | cryovial
4 | Plasma | Control | N/A | 150 | cryovial
5 | Plasma | Disease | No treatment | 150 | cryovial
6 | Plasma | Disease | No treatment | 150 | cryovial
7 | Plasma | Disease | No treatment | 150 | cryovial
8 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
9 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
10 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
11 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
12 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
13 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
14 | Plasma | Drug | Batch 20SEP2023 | 150 | cryovial
15 | Plasma | Drug | Batch 10JAN2024 | 150 | cryovial
16 | Plasma | Control | N/A | 150 | cryovial
17 | Plasma | Control | N/A | 150 | cryovial
18 | Plasma | Control | N/A | 150 | cryovial
19 | Plasma | Control | N/A | 150 | cryovial
20 | Plasma | Disease | No treatment | 150 | cryovial
21 | Plasma | Disease | No treatment | 150 | cryovial
22 | Plasma | Disease | No treatment | 150 | cryovial
23 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
24 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
25 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
26 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
27 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
28 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
29 | Plasma | Drug | Batch 20SEP2023 | 150 | cryovial
30 | Plasma | Drug | Batch 10JAN2024 | 150 | cryovial
31 | Plasma | Control | N/A | 150 | cryovial
32 | Plasma | Control | N/A | 150 | cryovial
33 | Plasma | Control | N/A | 150 | cryovial
34 | Plasma | Control | N/A | 150 | cryovial
35 | Plasma | Disease | No treatment | 150 | cryovial
36 | Plasma | Disease | No treatment | 150 | cryovial
37 | Plasma | Disease | No treatment | 150 | cryovial
38 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
39 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
40 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
41 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
42 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
43 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
44 | Plasma | Drug | Batch 20SEP2023 | 150 | cryovial
45 | Plasma | Drug | Batch 10JAN2024 | 150 | cryovial
46 | Plasma | Control | N/A | 150 | cryovial
47 | Plasma | Control | N/A | 150 | cryovial
48 | Plasma | Control | N/A | 150 | cryovial
49 | Plasma | Control | N/A | 150 | cryovial
50 | Plasma | Disease | No treatment | 150 | cryovial
51 | Plasma | Disease | No treatment | 150 | cryovial
52 | Plasma | Disease | No treatment | 150 | cryovial
53 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
54 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
55 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
56 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
57 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
58 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
59 | Plasma | Drug | Batch 20SEP2023 | 150 | cryovial
60 | Plasma | Drug | Batch 10JAN2024 | 150 | cryovial
61 | Plasma | Control | N/A | 150 | cryovial
62 | Plasma | Control | N/A | 150 | cryovial
63 | Plasma | Control | N/A | 150 | cryovial
64 | Plasma | Control | N/A | 150 | cryovial
65 | Plasma | Disease | No treatment | 150 | cryovial
66 | Plasma | Disease | No treatment | 150 | cryovial
67 | Plasma | Disease | No treatment | 150 | cryovial
68 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
69 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
70 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
71 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
72 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
73 | Plasma | Disease | Treatment 24 hours | 150 | cryovial
74 | Plasma | Drug | Batch 20SEP2023 | 150 | cryovial
75 | Plasma | Drug | Batch 10JAN2024 | 150 | cryovial
76 | Plasma | Control | N/A | 150 | cryovial
77 | Plasma | Control | N/A | 150 | cryovial
78 | Plasma | Control | N/A | 150 | cryovial
79 | Plasma | Control | N/A | 150 | cryovial
80 | Plasma | Disease | No treatment | 150 | cryovial
81 | Plasma | Disease | No treatment | 150 | cryovial
82 | Plasma | Disease | No treatment | 150 | cryovial
83 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
84 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
85 | Plasma | Disease | Treatment 8 hours | 150 | cryovial
Data Analysis: To be completed by user
Bioinformatics Package Requested: | Level 2 Analysis
Comparisons to be completed:
| Sample Group | Compare to: | If multigroup comparison, add additional group here:
1 | Disease, No Treatment | Control | N/A
2 | Disease, Treatment 8 Hours | Control | N/A
3 | Disease, Treatment 24 hours | Control | N/A
4 | Disease, Treatment 24 hours | Disease, Treatment 8 Hours | Disease, No Treatment
5 | Drug, batch 10JAN2024 | Drug, batch 20SEP2023 | N/A
Do you want the data from this study compared to a prior study you have completed with us?
No
If so, what study and how?